PUBLIC PROTECTION CABINET

Department of Housing, Buildings and Construction

Division of Building Code Enforcement

(Amendment)

815 KAR 7:120. Kentucky Building Code.

RELATES TO: KRS 132.010, 198B.010, 198B.040, 198B.050, 198B.060, 198B.080, 198B.260, 198B.990, 227.300, 227.550(7)

STATUTORY AUTHORITY: KRS 198B.040(7), 198B.050

NECESSITY, FUNCTION, AND CONFORMITY: KRS 198B.040(7) and 198B.050 require the department to promulgate a mandatory uniform state building code that establishes standards for the construction of all buildings in the state. This administrative regulation establishes the Kentucky Building Code's general provisions.

Section 1. Definitions.

(1) "Building" is defined by KRS 198B.010(4).

(2) "Department" is defined by KRS 198B.010(13).

(3) "Industrialized building system" or "building system" is defined by KRS 198B.010(18).

(4) "Manufactured home" is defined by KRS 227.550(6).

(5) "Single-family dwelling" or "1 family dwelling" means a single unit that:

(a) Provides complete independent living facilities for one (1) or more persons, including permanent provisions for living, sleeping, eating, cooking, and sanitation; and

(b) Is not connected to another building.

(6) "Townhouse" means a single-family dwelling unit constructed in a group of three (3) or more attached units separated by property lines in which each unit extends from foundation to roof and with open space on at least two (2) sides.

(7) "Two (2) family dwelling" means a building containing not more than two (2) dwelling units that are connected.

Section 2. Building Code. The 2015 International Building shall be the mandatory state building code for all buildings constructed in Kentucky except that:

(1) The Kentucky amendments in the 2018 Kentucky Building Code shall supersede any conflicting provision in the 2015 International Building Code;

(2) One (1) family dwellings, two (2) family dwellings, and townhouses shall be governed by 815 KAR 7:125; and

(3) Manufactured homes shall be governed by KRS 227.550 through 227.665.

Section 3. State Plan Review and Inspection Fees. The fees required by this section shall apply for plan review and inspection by the department.

(1) Fast track elective.

(a) A request for expedited site and foundation approval of one (1) week or less, prior to full review of the complete set of construction documents, shall be accompanied by the fee required by Table 121.3.1 in subsection (3) of this section, plus an additional fifty (50) percent of the basic plan review or inspection fee.

(b) The additional fifty (50) percent fee shall not be less than $400 and not more than $3,000.

(c) The entire fee shall be paid with the initial plan submission.

(2) New buildings.

(a) The department's inspection fees shall be calculated by multiplying:

1. The cost per square foot of each occupancy type as listed in Table 121.3.1 in subsection (3) of this section; and

2. The square footage of the outside dimensions of the building.

(b) The fee for a building with multiple or mixed occupancies shall be calculated using the cost per square foot multiplier of the predominant use.

(c) The minimum fee for review of plans pursuant to this subsection shall be $285.

(3) Table 121.3.1, Basic Department Fee Schedule. The basic plan review or inspection fee shall be as established in Table 121.3.1 in this subsection.

| OCCUPANCY TYPE | COST PER SQUARE FOOT |
| --- | --- |
| Assembly | 16 cents |
| Business | 15 cents |
| Day care centers | 15 cents |
| Educational | 15 cents |
| High Hazard | 16 cents |
| Industrial factories | 15 cents |
| Institutional | 16 cents |
| Mercantile | 15 cents |
| Residential | 15 cents |
| Storage | 15 cents |
| Utility and Miscellaneous | 13 cents |
| Production greenhouse | 10 cents |

(4) Additions to existing buildings.

(a) Plan review fees for additions to existing buildings shall be calculated by multiplying the cost per square foot of the occupancy type listed in Table 121.3.1 in subsection (3) of this section by the measurement of the square footage of the addition, as determined by the outside dimensions of the addition and any other changes made to the existing build.

(b) The minimum fee for review of plans pursuant to this subsection shall be $285.

(5) Change in use.

(a) Plan review fees for existing buildings in which the use group or occupancy type is changed shall be calculated in accordance with the schedule listed in Table 121.3.1 in subsection (3) of this section by using the total square footage of the entire building or structure pursuant to the new occupancy type as determined by the outside dimensions.

(b) The minimum fee for review of plans pursuant to this subsection shall be $285.

(6) Alterations and repairs.

(a) Plan review fees for alterations and repairs not otherwise covered by this fee schedule shall be calculated by using the lower result of multiplying the:

1. Cost of the alterations or repairs by 0.0030; or

2. Total area being altered or repaired by the cost per square foot of each occupancy type listed in the schedule in subsection (3) of this section.

(b) The total square footage shall be determined by the outside dimensions of the area being altered or repaired.

(c) The minimum fee for review of plans pursuant to this subsection shall be $285.

(7) Specialized fees. In addition to the fees established by subsections (1) through (6) of this section, the following fees shall be applied for the specialized plan reviews listed in this subsection:

(a) Table 121.3.9, Automatic Sprinkler Review Fee Schedule. The inspection fee for automatic sprinklers shall be as established in Table 121.3.9 in this paragraph;

| NUMBER OF SPRINKLERS | FEE |
| --- | --- |
| 4-25 | $150 |
| 26 – 100 | $200 |
| 101 – 200 | $250 |
| 201 – 300 | $275 |
| 301 – 400 | $325 |
| 401 – 750 | $375 |
| OVER 750 | $375 plus thirty (30) cents per sprinkler over 750 |

(b) Fire detection system review fee.

1. Zero through 20,000 square feet shall be $275; and

2. Over 20,000 square feet shall be $275 plus thirty (30) dollars for each additional 10,000 square feet in excess of 20,000 square feet;

(c) The standpipe plan review fee shall be $275. The combination of stand pipe and riser plans shall be reviewed pursuant to the automatic sprinkler review fee schedule;

(d) Carbon dioxide suppression system review fee.

1. One (1) through 200 pounds of agent shall be $275; and

2. Over 200 pounds of agent shall be $275 plus five (5) cents per pound in excess of 200 pounds;

(e) Clean agent suppression system review fee.

1.

a. Up to thirty-five (35) pounds of agent shall be $275; and

b. Over thirty-five (35) pounds of agent shall be $275 plus ten (10) cents per pound in excess of thirty-five (35) pounds; and

2. The fee for gaseous systems shall be ten (10) cents per cubic foot and not less than $150;

(f) Foam suppression system review fee.

1. The fee for review of a foam suppression system shall be fifty (50) cents per gallon of foam concentrate if the system is not part of an automatic sprinkler system.

2. Foam suppression system plans that are submitted as part of an automatic sprinkler system shall be reviewed pursuant to the automatic sprinkler review fee schedule.

3. The fee for review of plans pursuant to subclause 1. of this paragraph shall not be less than $275 or more than $1,500;

(g) The commercial range hood review fee shall be $225 per hood;

(h) Dry chemical systems review fee (except range hoods). The fee for review of:

1. One (1) through thirty (30) pounds of agent shall be $275; and

2. Over thirty (30) pounds of agent shall be $275 plus twenty-five (25) cents per pound in excess of thirty (30) pounds; and

(i) The flammable, combustible liquids or gases, and hazardous materials plan review fee shall be $100 for the first tank, plus fifty (50) dollars for each additional tank and $100 per piping system including valves, fill pipes, vents, leak detection, spill and overfill detection, cathodic protection, or associated components.

Section 4. General. All plans shall be designed and submitted to conform to this administrative regulation.

Section 5. Incorporation by Reference.

(1) The following material is incorporated by reference:

(a) "2015 International Building Code", International Building Code Council, Inc.; and

(b) "2018 Kentucky Building Code", Fourth[Third] Edition, February 2024[August 2022].

(2) This material may be inspected copied, or obtained, subject to applicable copyright law, at the Kentucky Department of Housing, Buildings and Construction, 500 Mero Street, Frankfort, Kentucky 40601, Monday through Friday, 8:00 a.m. to 4:30 p.m. and is available online at http://dhbc.ky.gov/Pages/default.aspx.

RAY A. PERRY, Secretary

JONATHON M. FULLER, Deputy Commissioner

APPROVED BY AGENCY: February 14, 2024

FILED WITH LRC: February 14, 2024 at 2:15 p.m.

PUBLIC HEARING AND PUBLIC COMMENT PERIOD: A public hearing on this administrative regulation shall be held on April 25, 2024 at 10:00 a.m., eastern time, in the Department of Housing, Buildings and Construction, 500 Mero Street, First Floor, Frankfort, Kentucky 40601. Individuals interest in being heard at this hearing shall notify this agency in writing by five working days prior to the hearing of their intent to attend. If no notification of intent to attend the hearing is received by that date, the hearing may be canceled. The hearing is open to the public. Any person who wishes to be heard will be given an opportunity to comment on the proposed administrative regulation. A transcript of the public hearing will not be made unless a written request for a transcript is made. If you do not wish to be heard at the public hearing, you may submit written comments on the proposed administrative regulation. Written comments shall be accepted through April 30, 2024 at 11:59 p.m., eastern time. Send written notification of the intent to be head at the public hearing or written comments on the proposed administrative regulation by the above date to the contact person below:

CONTACT PERSON: Jonathon M. Fuller, Deputy Commissioner, Department of Housing, Buildings and Construction, 500 Mero St., First Floor, Frankfort, Kentucky 40601, (502) 782-0617, max.fuller@ky.gov

REGULATORY IMPACT ANALYSIS AND TIERING STATEMENT

Contact Person: Jonathon M. Fuller

(1) Provide a brief summary of:

(a) What this administrative regulation does:

This administrative regulation establishes the Kentucky Building Code.

(b) The necessity of this administrative regulation:

KRS 198B.040(7) and 198B.050 require the department to adopt and promulgate a mandatory Uniform State Building Code that establish the standards for the construction of all buildings, as defined in KRS 198B.010, in the state.

(c) How this administrative regulation conforms to the content of the authorizing statutes:

KRS 198B.040(7) and 198B.050 require the department to adopt and promulgate a mandatory Uniform State Building Code that establish the standards for the construction of all buildings, as defined in KRS 198B.010, in the state. This administrative regulation incorporates by reference the 2015 International Building Code and 2018 Kentucky Building Code—the "Kentucky amendments".

(d) How this administrative regulation currently assists or will assist in the effective administration of the statutes:

This administrative regulation establishes the Kentucky Building Code, as required by KRS 198B.040(7) and 198B.050 for the enforcement of the uniform state building code, incorporating all applicable codes and standards into its processes.

(2) If this is an amendment to an existing administrative regulation, provide a brief summary of:

(a) How the amendment will change this existing administrative regulation:

This amendment adopts the 2023 National Electrical Code ("NEC"), a referenced standard of the Kentucky Building Code.

(b) The necessity of the amendment to this administrative regulation:

This amendment is necessary to adopt and implement an update to the National Electrical Code to the 2023 edition.

(c) How the amendment conforms to the content of the authorizing statutes:

KRS 198B.040(7) and 198B.050 require the department to adopt and promulgate a mandatory Uniform State Building Code that establish the standards for the construction of all buildings, as defined in KRS 198B.010, in the state. This administrative regulation incorporates by reference the 2015 International Building Code and 2018 Kentucky Building Code—the "Kentucky amendments". KRS 227.480(4) requires reasonable standards for the construction, alteration, and repair of any electrical system to be those adopted in the Uniform State Building Code, as promulgated by the department, and requires those standards to utilize the National Electrical Code as a minimum standard.

(d) How the amendment will assist in the effective administration of the statutes:

These amendments to the Kentucky Building Code will enhance public safety and allow the construction industry to use current technologies, methods, and materials in the construction, alteration, and repair of electrical systems.

(3) List the type and number of individuals, businesses, organizations, or state and local governments affected by this administrative regulation:

All electrical construction, alteration, and repair projects subject to the Kentucky Building Code are affected by this administrative regulation. Architects, engineers, contractors, electricians, electrical inspectors, project managers, businesses, local governments, and Department personnel will be affected by this administrative regulation.

(4) Provide an analysis of how the entities identified in question (3) will be impacted by either the implementation of this administrative regulation, if new, or by the change, if it is an amendment, including:

(a) List the actions that each of the regulated entities identified in question (3) will have to take to comply with this administrative regulation or amendment:

The identified entities must comply with any applicable amendments to the Kentucky Building Code and the referenced standard, the 2023 National Electrical Code.

(b) In complying with this administrative regulation or amendment, how much will it cost each of the entities identified in question (3):

Costs will vary based on entity and their role in the electrical trade. New copies of NFPA 70, the National Electrical Code, 2023 Edition are approximately $140. The largest recurring cost that is new to the 2023 NEC is exterior emergency disconnects for dwelling units, which cost approximately $200 plus labor for installation.

(c) As a result of compliance, what benefits will accrue to the entities identified in question (3):

The 2023 NEC includes a number of changes that increase life safety, safety of appliances and other electronics, offers guidance for emerging technologies in the electrical field and has removed some requirements due to industry feedback (e.g. receptacles are no longer required on kitchen islands and peninsulas).

(5) Provide an estimate of how much it will cost the administrative body to implement this administrative regulation:

(a) Initially:

Initial implementation costs will be minimal to the administrative body and are estimated to be less than five thousand dollars. These costs will include updated physical code books and training.

(b) On a continuing basis:

There are no anticipated additional costs to implement this administrative regulation on a continuing basis.

(6) What is the source of the funding to be used for the implementation and enforcement of this administrative regulation:

Implementation and enforcement of this administrative regulation is anticipated to result in minimal additional costs to the agency. Any agency costs resulting from the implementation and enforcement of this administrative regulation will be met with existing agency funds.

(7) Provide an assessment of whether an increase in fees or funding will be necessary to implement this administrative regulation, if new, or by the change if it is an amendment:

This amendment will not necessitate an increase in fees or funding. No fees are raised or changed by this amendment.

(8) State whether or not this administrative regulation establishes any fees or directly or indirectly increases any fees:

This amendment does not alter previously established fees.

(9) TIERING: Is tiering applied?

Tiering is not applied as all regulated entities are subject to the same amended requirements.

FISCAL NOTE

(1) What units, parts, or divisions of state or local government (including cities, counties, fire departments, or school districts) will be impacted by this administrative regulation?

The Department of Housing, Buildings and Construction and electrical inspection programs of local governments.

(2) Identify each state or federal statute or federal regulation that requires or authorizes the action taken by the administrative regulation.

This administrative regulation is required by KRS 198B.040(7) and KRS 198B.050.

(3) Estimate the effect of this administrative regulation on the expenditures and revenues of a state or local government agency (including cities, counties, fire departments, or school districts) for the first full year the administrative regulation is to be in effect.

(a) How much revenue will this administrative regulation generate for the state or local government (including cities, counties, fire departments, or school districts) for the first year?

This amendment is not anticipated to generate additional revenue for state or local government in the first year.

(b) How much revenue will this administrative regulation generate for the state or local government (including cities, counties, fire departments, or school districts) for subsequent years?

This amendment is not anticipated to generate additional revenue for state or local government in subsequent years.

(c) How much will it cost to administer this program for the first year?

Costs related to local administration of this administrative regulation will vary, based upon the number of inspectors that the local government will be required to provide updated materials for. The cost for state-level administration of this administrative regulation will be minimal, as discussed in (5)(a) of the Regulatory Impact Analysis and Tiering Statement.

(d) How much will it cost to administer this program for subsequent years?

There are no anticipated additional costs to administer this amendment for subsequent years.

Note: If specific dollar estimates cannot be determined, provide a brief narrative to explain the fiscal impact of the administrative regulation.

Revenues (+/-): Neutral

Expenditures (+/-): Initial increase for updated code materials and training will vary by entity.

Other Explanation:

None.

(4) Estimate the effect of this administrative regulation on the expenditures and cost savings of regulated entities for the first full year the administrative regulation is to be in effect.

(a) How much cost savings will this administrative regulation generate for the regulated entities for the first year?

Costs savings will vary based on the type and scope of electrical construction project. For example, regulated entities may see cost savings by utilizing new provisions related to the use of reconditioned electrical equipment or by no longer being required to install receptacles in certain areas of a newly-constructed dwelling unit.

(b) How much cost savings will this administrative regulation generate for the regulated entities for subsequent years?

Costs savings will vary based on the project, as discussed in 4(b).

(c) How much will it cost the regulated entities for the first year?

Costs will vary based on entity, project, and the entity’s role in the electrical trade. New copies of NFPA 70, the National Electrical Code, 2023 Edition are approximately $140. One of the largest recurring cost for new construction that is new to the 2023 NEC is expanded GFCI protection requirements, which will vary based on the size of the project.

(d) How much will it cost the regulated entities for subsequent years?

Costs will vary based on the entity, project, and the entity’s role in the electrical trade as discussed in 4(c).

Note: If specific dollar estimates cannot be determined, provide a brief narrative to explain the fiscal impact of the administrative regulation.

Cost Savings (+/-): Neutral

Expenditures (+/-): Varies by type and scope of project.

Other Explanation:

None.

(5) Explain whether this administrative regulation will have a major economic impact, as defined below.

"Major economic impact" means an overall negative or adverse economic impact from an administrative regulation of five hundred thousand dollars ($500,000) or more on state or local government or regulated entities, in aggregate, as determined by the promulgating administrative bodies. [KRS 13A.010(13)]. This administrative regulation will not have a major economic impact, as defined above.