# AN ACT relating to energy conservation.

Be it enacted by the General Assembly of the Commonwealth of Kentucky:

# SECTION 1.   A NEW SECTION OF KRS 56.770 TO 56.784 IS CREATED TO READ AS FOLLOWS:

All state agencies shall conserve energy and reduce total electricity and natural gas use in state owned or leased buildings and offices by maintaining the thermostat settings in all state buildings in the range of:

## (1)	Sixty-five (65) to seventy (70) degrees Fahrenheit during working hours and not more than fifty-five (55) degrees during nonworking hours when heating the buildings during the winter months; and

## (2)	Seventy-six (76) to eighty (80) degrees Fahrenheit during working hours when cooling the buildings during the summer months.

# Section 2.   To ensure compliance with the provisions of Section 1 of this Act, all state agencies shall, to the maximum extent possible, decrease total electricity and natural gas use in state owned or leased buildings and offices by ten percent (10%).

## (1)	The state agencies will have two (2) years to comply with the provisions of Section 1 of this Act.

## (2)	Within one (1) year from the date of enactment, state agencies shall make all efforts to achieve a five percent (5%) reduction of total electricity and natural gas use. Within two (2) years they shall make all efforts to achieve a ten percent (10%) reduction of total electricity and natural gas use.

## (3)	It is the goal of the General Assembly that the energy policy of the state of Kentucky mirror the most effective energy conservation policies of other governments, including, but not limited to, the United States Army policy (U.S. Army regulation 11-27-3.5) and the State of Washington (Governor's Directive No. 01-01.

## (4)	All state agencies shall report back the energy reductions and savings to the Legislative Research Commission (LRC) and the Governor annually, beginning July 1, 2002.