# AN ACT relating to state and local planning for power suppliers.

Be it enacted by the General Assembly of the Commonwealth of Kentucky:

# SECTION 1.   A NEW SECTION OF KRS 278.010 TO 278.450 IS CREATED TO READ AS FOLLOWS:

As used in Sections 1 to 8, 11, and 13 of this Act, unless the context requires otherwise:

## (1)	"Board" means the Kentucky State Board on Electric Generation and Transmission Siting and the Environment;

## (2)	"Merchant plant" means an electricity generating plant, together with associated facilities, that:

### (a)	Is capable of operating at a capacity of ten megawatts (10MW) or more; and

### (b)	Sells the electricity it produces at wholesale, at rates and charges not regulated by the Public Service Commission;

## (3)	"Person" means any individual, corporation, public corporation, political subdivision, governmental agency, municipality, partnership, cooperative-operative association, trust, estate, or any other entity;

## (4)	"Commence to construct" means breaking ground for the purpose of constructing any facility for which board approval is required, but does not include surveying changes needed for temporary use of a site or route, or uses in securing geological data, including borings, to ascertain foundation conditions;

## (5)	"Nonregulated electric transmission line" means an electric transmission line and related appurtenances for which no certificate of public convenience and necessity is required; which is not operated as an activity regulated by the Public Service Commission; and which is capable of operating at or above sixty-nine thousand (69,000) volts; and

## (6)	"Residential neighborhood" means a populated area of five (5) or more acres containing at least one (1) occupied residential structure per acre.

# SECTION 2.   A NEW SECTION OF KRS 278.010 TO 278.450 IS CREATED TO READ AS FOLLOWS:

## (1)	There is hereby established the Kentucky State Board on Electric Generation and Transmission Siting and the Environment. The board shall be composed of seven (7) members as follows:

### (a)	The three (3) members of the Kentucky Public Service Commission;

### (b)	The secretary of the Natural Resources and Environmental Protection Cabinet;

### (c)	The secretary of the Cabinet for Economic Development; and

(d)	1.	If the facility subject to board approval is proposed to be located in one (1) county, two (2) ad hoc public members to be appointed by the Governor from a county where a facility subject to board approval is proposed to be located:

##### a.	One (1) of the ad hoc public members shall be the chairman of the planning commission with jurisdiction over an area in which a facility subject to board approval is proposed to be located. If the proposed location is not within a jurisdiction with a planning commission, then the Governor shall appoint either the county judge/executive of a county that contains the proposed location of the facility or the mayor of a city, if the facility is proposed to be within a city; and

##### b.	One (1) of the ad hoc public members shall be appointed by the Governor and shall be a resident of the county in which the facility is proposed to be located.

#### 2.	If the facility subject to board approval is proposed to be located in more than one (1) county, two (2) ad hoc public members to be chosen as follows:

##### a.	One (1) ad hoc public member shall be the county judge/executive of a county in which the facility is proposed to be located, to be chosen by majority vote of the county judge/executives of the counties in which the facility is proposed to be located;

##### b.	One (1) ad hoc public member shall be a resident of a county in which the facility is proposed to be located, and shall be appointed by the Governor; and

##### c.	If a member has not been chosen by majority vote, as provided in subdivision a. of this subparagraph, by thirty (30) days after the filing of the application, the Governor shall directly appoint the member.

### (e)	Ad hoc public members appointed to the board shall have no direct financial interest in the facility proposed to be constructed.

## (2)	The term of service for the ad hoc members of the board shall continue until the board issues a final determination in the proceeding for which they were appointed. The remaining members of the board shall be permanent members.

## (3)	The board shall be attached to the Public Service Commission for administrative purposes. The commission staff shall serve as permanent administrative staff for the board. The board may enter into personal service contracts, may promulgate administrative regulations to implement Sections 1, 2, 3, 4, 5, 6, 7, and 8 of this Act, and may call upon the staff of the Natural Resources and Environmental Protection Cabinet and the Cabinet for Economic Development for assistance, as necessary.

## (4)	The chairman of the Public Service Commission shall be the chairman of the board and shall serve as its chief executive officer. The chairman shall designate one (1) of the members of the board as vice chairman, who shall possess all the powers of the chairman in the absence or disability of the chairman. The executive director of a statewide board or agency charged with the review of the impact of electric generating facilities and transmission on the Commonwealth shall serve as the executive secretary and chief administrative officer for the board. The Public Service Commission shall be responsible for maintaining the official records of the board's proceedings, including all approved orders.

## (5)	A majority of the members of the board shall constitute a quorum for the transaction of any business, for the performance of any duty, or for the exercise of any power of the board. No vacancy on the board shall impair the right of the remaining members to exercise all of the powers of the board.

## (6)	Each member shall have one (1) vote and a majority vote of the members present shall control on all questions.

## (7)	Every order or finding issued by the board shall be in writing and shall be entered on the records of the board. A certificate of the board that any order or finding has not been modified, stayed, suspended, or revoked shall be received as evidence in any proceeding as to the facts stated therein.

## (8)	The board shall convene upon the call of the chairman. The chairman shall convene a meeting of the board upon receipt of a complete application provided under Section 4, 7, or 8 of this Act for the purpose of taking action on the application.

## (9)	No member of the board shall receive any salary or fee for service on the board, but each member shall be reimbursed for actual travel and expenses related directly to service on the board.

# SECTION 3.   A NEW SECTION OF KRS 278.010 TO 278.450 IS CREATED TO READ AS FOLLOWS:

## (1)	No person, including a person who has applied for an air quality or other necessary permit prior to the effective date of this Act, shall commence to construct a merchant plant until the person has applied for and obtained approval for the plant from the board.

## (2)	Replacement of an existing generating facility with a like facility shall not, for the purposes of Sections 3, 4, 5, and 6 of this Act, constitute construction of a merchant plant.

## (3)	Except for a proposed site where electric generating facilities capable of generating ten megawatts (10MW) or more currently exist, and except for a facility locating on a riverport which shall be subject to the setback requirements in subsection (5) of this section, no electric generating facility proposed to be constructed, pursuant to Sections 3, 4, 5, 6, and 7 of this Act, shall be constructed unless the proposed exhaust stack is:

### (a)	At least five hundred (500) feet from any occupied residential structure; and

### (b)	At least three thousand (3,000) feet from any residential neighborhood, historic structure eligible for inclusion in the National Register of Historic Places, school, hospital, or nursing home facility.

## (4)	The board may, for good cause shown, grant a deviation from the requirements of subsections (3) and (5) of this section.

## (5)	Notwithstanding subsection (3) of this section, no electric facility proposed to be constructed pursuant to this section and Sections 4, 5, 6, and 7 of this Act on a site located on a riverport shall be constructed unless the exhaust stack of the proposed facility is at least five hundred (500) feet from any occupied residential structure, residential neighborhood, historic structure eligible for inclusion in the National Register of Historic Places, school, hospital, or nursing home facility.

# SECTION 4.   A NEW SECTION OF KRS 278.010 TO 278.450 IS CREATED TO READ AS FOLLOWS:

## (1)	Any person seeking to obtain board approval to construct a merchant power plant shall file an application at the offices of the Public Service Commission. At the time of filing the application, a copy of the application shall be sent to each of the permanent members of the board.

## (2)	A completed application shall include the following:

### (a)	The name, address, and telephone number of the person proposing to construct and own the merchant power plant;

### (b)	A full description of the proposed site, including a map showing the distance of the proposed site from residential neighborhoods, the nearest residential structure, schools, and public and private parks that are located within a two (2) mile radius of the proposed plant;

### (c)	Evidence of public notice that shall include the location of the proposed site, state that the proposed construction is subject to approval by the board, and provide the telephone number and address of the Public Service Commission. Public notice shall be given within thirty (30) days immediately preceding the application filing to:

#### 1.	Landowners whose property borders the proposed site; and

#### 2.	The general public in a newspaper of general circulation in the county or municipality in which the plant is proposed to be located;

### (d)	A statement certifying that the proposed plant will be in compliance with all local ordinances and regulations concerning noise control and with any applicable local planning and zoning ordinances;

### (e)	Except for facilities proposed to be located on a riverport as provided under subsection (5) of Section 3 of this Act, a statement that the proposed exhaust stack is at least five hundred (500) feet from any occupied residential structure and three thousand (3,000) feet from any residential neighborhood, historic structure eligible for inclusion in the National Register of Historic Places, school, hospital, or nursing home facility, unless:

#### 1.	Facilities capable of generating ten megawatts (10MW) or more currently exist on the site; or

#### 2.	The applicant owned the proposed site on the effective date of this Act, and the requirement of this subsection and subsection (3) of Section 3 of this Act were met on that date; or

#### 3.	The board finds, for good cause shown, that the applicant should be granted a deviation from this paragraph.

### (f)	A report on the environmental compatibility of the proposed facility, issued by the Natural Resources and Environmental Protection Cabinet or any local air pollution control district exercising concurrent jurisdiction with the cabinet. The report shall be submitted along with the applicant's statement of environmental compatibility upon which the report is based. The applicant shall have submitted its statement of environmental compatibility to the local air pollution control district or to the Natural Resources and Environmental Protection Cabinet at least ninety (90) days prior to its application to the board, together with a fee for evaluation as set pursuant to KRS 224.10-100(20), and such information as the Natural Resources and Environmental Protection Cabinet or local air pollution control district considers necessary in making its report to the board, including but not limited to the following:

#### 1.	A complete description of the proposed project; and

#### 2.	Analysis of the individual and cumulative effects of the siting and operating of the proposed facility and associated facilities on public health and the environment, including analysis of the impacts on air, land, and water resources;

### (g)	The applicant may file documentation of compliance with the National Environmental Policy Act (NEPA) rather than the statement of environmental compatibility prescribed by subsection (f) of this section. However, the Natural Resources and Environmental Protection Cabinet or the local air pollution control district may request additional information it deems necessary to complete its environmental report;

### (h)	A complete report of the applicant's public involvement program activities undertaken prior to the filing of the application, including any use of media coverage, direct mailing, fliers, newsletters, public meetings, establishment of a community advisory group, and any other efforts to obtain local involvement in the siting process;

### (i)	A summary of the efforts made by the applicant to locate the proposed facility on a site where existing electric generating facilities are located;

### (j)	Proof of service of a copy of the application upon the chief executive officer of each county and municipal corporation in which the proposed facility is to be located, and upon the chief officer of each public agency charged with the duty of planning land use in the jurisdiction in which the facility is proposed to be located;

### (k)	An analysis of the proposed facility's projected effect on the electricity transmission system in Kentucky;

### (l)	An analysis of the proposed facility's economic impact on the affected region and the state;

### (m)	A detailed listing of all violations by it, or by any person with an ownership interest in the applicant, of federal or state environmental laws, rules, or administrative regulations, whether judicial or administrative, where violations have resulted in criminal convictions or civil or administrative fines exceeding one thousand dollars ($1,000). The status of any pending environmental action, whether judicial or administrative, shall also be submitted;

### (n)	A nonrefundable application fee in an amount to be specified by administrative regulation promulgated by the board, to defray the expenses of the application process including expenses incurred by the board, the Public Service Commission, and other state agencies and any legal expenses associated with any action to review the board's decision; and

### (o)	If the facility is proposed to be located on a riverport as provided under subsection (5) of Section 3 of this Act, a statement that the exhaust stack of the proposed facility is at least five hundred (500) feet from any occupied residential structure, residential neighborhood, historic structure eligible for inclusion in the National Register of Historic Places, school, hospital, or nursing home facility unless the board finds, for good cause shown, that the applicant should be granted a deviation from this paragraph.

## (3)	All application fees provided under subsection (2)(n) of this section, shall be deposited in a trust and agency account to the credit of the Public Service Commission. If a majority of the members of the board find that the applicant's initial fees are not sufficient to pay expenses associated with review of the application and the board's decision, the board shall assess a supplemental application fee to cover anticipated additional expenses associated with the review of the application. An applicant's failure to pay a fee assessed pursuant to this subsection shall be grounds for denial of the application.

# SECTION 5.   A NEW SECTION OF KRS 278.010 TO 278.450 IS CREATED TO READ AS FOLLOWS:

## (1)	Within one hundred twenty (120) days of receipt of an application that complies with Section 4 or 7 of this Act, or within ninety (90) days of receipt of the application, if no hearing is requested, the board shall, by majority vote, approve, or disapprove the application, either in whole or in part, based on the evidence of record. Approval or disapproval shall be based upon the following criteria:

### (a)	The environmental impact of the proposed facility;

### (b)	The economic impact of the facility upon the affected region and the state;

### (c)	Whether the facility is proposed for a site upon which existing generating facilities, capable of generating ten megawatts (10MW) or more of electricity, are currently located; and if the facility is not proposed for such a site, whether it is feasible to locate the facility upon such a site;

### (d)	Whether the applicant intends to comply with all applicable federal, state, and local laws pertaining to air pollution, water pollution, and solid and hazardous waste disposal and any applicable administrative regulations promulgated thereunder;

### (e)	Whether the direct and cumulative effects of the siting and operation of the proposed facility and associated structures have been reasonably mitigated to avoid adverse effects on the health and welfare of the public and the environment. Approval of a proposed site by the board may be conditioned on incorporation into approvals and permits, appropriate and enforceable conditions, limitations, or other requirements to assure that effects will be reasonably mitigated or offset in order to avoid such adverse effects. The requirements imposed under this subsection may include but are not limited to setbacks, additional technological controls, and monitoring;

### (f)	Whether the proposed plant will, notwithstanding KRS 100.324, meet all local planning and zoning requirements that existed on the date the application was filed;

### (g)	Whether the additional load imposed upon the electricity transmission system by use of the merchant plant will adversely affect the reliability of service for Kentucky retail customers;

### (h)	Whether the applicant has met all requirements for electricity transmission interconnection under Kentucky law and the open access transmission tariff of the host transmission owner or regional transmission operator;

### (i)	Whether the applicant has made good faith efforts to communicate and cooperate with the public during the siting process; and

### (j)	Whether the applicant has a good environmental compliance history.

## (2)	When considering an application for approval of a merchant plant, the board may consider the policy of the General Assembly to encourage the use of coal as a principal fuel for electricity generation as set forth in KRS 152.210.

## (3)	A person that has received board authorization to construct a merchant plant shall not transfer rights and obligations pursuant to the terms of the authorization without having first applied for and received a board determination that:

### (a)	The acquirer has a good environmental compliance history; and

### (b)	The acquirer has the technical and financial capacity to meet the obligations imposed by the terms of the approval.

## (4)	An application to transfer board authorization to construct a merchant plant provided under subsection (3) of this section, shall be filed at the offices of the Public Service Commission, with a copy to each permanent member of the board and to the ad hoc members of the board who participated in the initial review of the proposed plant. The application shall be accompanied by a filing fee sufficient to pay expenses associated with review of the application in an amount to be specified by administrative regulation promulgated by the board, which may be supplemented, if necessary, as prescribed in subsection (2)(n) of Section 4 of this Act. Fees shall be deposited into a trust and agency account to the credit of the Public Service Commission.

# SECTION 6.   A NEW SECTION OF KRS 278.010 TO 278.450 IS CREATED TO READ AS FOLLOWS:

## (1)	The board may convene a public evidentiary hearing pursuant to consider an application filed under Section 4, 7, or 8 of this Act. If the board convenes an evidentiary hearing, the hearing shall be held not more than sixty (60) days after receipt of a complete application. In addition, the board may convene one or more public meetings in the county or counties for which the facility is proposed to be constructed.

## (2)	In any hearing on an application to construct an electric generating facility filed pursuant to Section 4 or 7 of this Act or nonregulated transmission line, filed pursuant to Section 8 of this Act, the board shall not be bound by the technical rules of legal evidence. Prior to the hearing, the applicant shall furnish evidence to the board that it has caused public notice of the board hearing on the application. The notice shall be published in a newspaper of general circulation in the county or the counties within which the construction is proposed. The notice shall be published not less than seven (7) days nor more than twenty-one (21) days before the hearing date. The notice shall state the date, time, place, and purpose of the board hearing. Notice shall also state that public comments on the proposed construction shall be received at the board hearing on the application.

## (3)	Any hearing that the board has power to hold may be undertaken or held, and the evidence taken therein, by any one (1) or more members or a hearing examiner designated for that purpose by the board, and every finding, opinion, or order made by the board or members or hearing examiner so designated shall, when approved or confirmed by the board, become the finding, opinion, or order of the board.

## (4)	Any interested person, including a person residing in a municipal corporation or county in which the facility is proposed to be constructed may, upon motion to the board, be granted leave to intervene as a party to a proceeding held pursuant to this section. Intervention requests shall be filed with the board not more than thirty (30) days after the facility, subject to board approval, has given public notice pursuant to subsection (2)(b) of Section 4 of this Act.

## (5)	Any party to a proceeding held pursuant to Sections 4, 5, 7, and 8 of this Act may, within thirty (30) days after service of the board's final ruling, bring an action against the board in Franklin Circuit Court to vacate or set aside the ruling on grounds that the ruling is unlawful or unreasonable. Any party instituting an action for review of the board's ruling in Franklin Circuit Court shall give notice to all parties of record in the board's proceeding.

# SECTION 7.   A NEW SECTION OF KRS 278.010 TO 278.450 IS CREATED TO READ AS FOLLOWS:

## (1)	No person, partnership, public or private corporation, or combination thereof shall begin the construction of any facility to be used for the generation of electricity to or for the public for compensation without having first obtained board approval for the siting of the facility.

## (2)	Notwithstanding any other provision of law, a utility as defined in KRS 278.010(3)(a) shall not be prevented from purchasing real property or property options in connection with the facility identified in its application, but the public utility shall not be permitted to recover from its ratepayers any expenditures related to the purchases unless the Public Service Commission approves its application for a certificate of public convenience and necessity pursuant to KRS 278.020.

## (3)	An application to the board by an electric utility for approval to construct a facility as described in subsection (1) of this section, shall include the following:

### (a)	The name, address, and telephone number of the person proposing the construction;

### (b)	All information and documents required by subsection (2)(b) to (m) and (o) of Section 4 of this Act; and

### (c)	A copy of the certificate for the facility granted by the Public Service Commission pursuant to KRS 278.020 or a copy of the application for a certificate submitted to the Public Service Commission pursuant to KRS 278.020(1). The applicant shall not be required to have received a certificate of public convenience and necessity prior to applying under this section.

## (4)	The board shall not deny an application filed pursuant to, and in compliance with, this section. However, the board may require reasonable mitigation of significant adverse environmental impacts that would be caused by operation of the facility, but the board shall in no event order relocation of the facility.

# SECTION 8.   A NEW SECTION OF KRS 278.010 TO 278.450 IS CREATED TO READ AS FOLLOWS:

## (1)	No person shall commence to construct a nonregulated electric transmission line without prior approval of the board. An application for board approval of a nonregulated transmission line shall be filed at the offices of the Public Service Commission, with a copy to each permanent member of the board. A completed application shall include the following:

### (a)	The name, address, and telephone number of the person proposing construction of the nonregulated transmission line;

### (b)	A full description of the proposed route of the transmission line and its appurtenances. The description shall include a map or maps showing:

#### 1.	The location of the proposed line and all proposed structures that will support it;

#### 2.	The proposed right-of-way limits;

#### 3.	Existing property lines and the names of persons who own the property over which the line will cross; and

#### 4.	The distance of the proposed line from residential neighborhoods, schools, and public and private parks within one (1) mile of the proposed facilities;

### (c)	A full description of the proposed line and appurtenances, including the following:

#### 1.	Initial and design voltages and capacities;

#### 2.	Itemized estimated costs;

#### 3.	Conductor sizes and specifications;

#### 4.	Overhead tower design, appearance, and heights, if any;

#### 5.	Length of line;

#### 6.	Terminal points; and

#### 7.	Substation connections;

### (d)	A statement that the proposed transmission line and appurtenances will be constructed and maintained in accordance with accepted engineering practices and the National Electric Safety Code;

### (e)	Evidence that public notice has been given by publication in a newspaper of generation circulation in the general area concerned. Public notice shall include the location of the proposed line, shall state that the proposed line is subject to approval by the board, and shall provide the telephone number and address of the Public Service Commission;

### (f)	A complete report of the applicant's attempts to communicate to or obtain public involvement in the locating of the transmission line conducted prior to the filing of an application with the board. Attempts to communicate or obtain public involvement shall include any use of media coverage, direct mailings, fliers, newsletters, public meetings, establishment of a community advisory group, and any other efforts to obtain local involvement in the siting process;

### (g)	Proof of service of a copy of the application upon the chief executive officer of each county and municipal corporation in which the proposed line is to be located, and upon the chief officer of each public agency charged with the duty of planning land use in the general area in which the line is proposed to be located;

### (h)	An analysis of the environmental impact of the proposed nonregulated transmission line; and

### (i)	An application fee in an amount to be specified by administrative regulation promulgated by the board. Fees shall be deposited in a trust and agency account to the credit of the Public Service Commission. Supplemental application fees may be assessed as prescribed in subsection (2)(n) of Section 4 of this Act.

## (2)	Within one hundred twenty (120) days of receipt of the application, the board shall, by majority vote, approve or disapprove the application either in whole or in part. Action to approve or disapprove an application shall be based on the board's determination that the proposed route of the line will minimize adverse impact on the scenic and environmental assets of Kentucky and that the applicant will construct and maintain the line according to all applicable legal requirements. If the board determines that locating the transmission line will result in degradation of environmental and scenic factors, the board shall deny the application or condition the application's approval upon relocation of the route of the line.

## (3)	A public hearing on an application to construct a nonregulated electric transmission line may be held in accordance with the provisions of Section 6 of this Act.

# SECTION 9.   A NEW SECTION OF KRS 278.010 TO 278.450 IS CREATED TO READ AS FOLLOWS:

## (1)	No utility shall begin the construction or installation of any property, equipment, or facility to establish an electrical interconnection with a plant to be used for the generation of electricity in excess of ten megawatts (10MW) until the plans and specification for the electrical interconnection have been filed with and approved by the commission.

## (2)	If an electrical interconnection with a plant, to be used for the generation of electricity in excess of ten megawatts (10MW) can be established without the utility's construction of any property, equipment, or facility, the utility making the interconnection shall file with the commission a copy of the agreement with the engineering studies demonstrating that no property, equipment, or facility needs to be constructed to establish the interconnection pursuant to the agreement. The utility shall file an interconnection agreement within thirty (30) days of execution.

# SECTION 10.   A NEW SECTION OF KRS 278.010 TO 278.450 IS CREATED TO READ AS FOLLOWS:

When a utility engaged in the transmission of electricity experiences on its transmission facilities an emergency or other event that necessitates a curtailment or interruption of service, the utility shall not curtail or interrupt retail electric service within its certified territory, or curtail or interrupt wholesale electric energy furnished to a member distribution cooperative for retail electric service within the cooperative's certified territory, except for customers who have agreed to receive interruptable service, until after service has been interrupted to all other customers whose interruption may relieve the emergency or other event.

# SECTION 11.   A NEW SECTION OF KRS 278.010 TO 278.450 IS CREATED TO READ AS FOLLOWS:

## (1)	There is hereby created a trust and agency account in the State Treasury called the "siting fund."

## (2)	All fees received by the board for the purpose of administering Sections 1 to 8 of this Act, shall be deposited into the siting fund account. The fund shall not lapse and all expenditures from the fund shall be used for the purpose of implementing Sections 1 to 8 of this Act.

# SECTION 12.   A NEW SECTION OF KRS 278.010 TO 278.450 IS CREATED TO READ AS FOLLOWS:

## (1)	No person shall acquire or transfer ownership of or control, or the right to control, any assets that are owned by a utility as defined under subsection (3)(a) of Section 14 of this Act without prior approval of the commission, if the assets have an original book value of fifty thousand dollars ($50,000) or more and:

### (a)	The assets are to be transferred by the utility for reasons other than obsolescence; or

### (b)	The assets will continue to be used to provide the same or similar service to the utility or its customers.

## (2)	The commission shall grant its approval if the transaction is for a proper purpose and is consistent with the public interest.

# SECTION 13.   A NEW SECTION OF SUBCHAPTER 10 OF KRS CHAPTER 224 IS CREATED TO READ AS FOLLOWS:

## (1)	Any person proposing to construct an electric generating facility shall file an application with the cabinet to obtain an environmental compatibility report. The environmental compatibility report shall evaluate the effect of the proposed construction on air, waste, and water in the area where the plant is to be located. Information used in compiling the report shall include but not be limited to the following:

### (a)	A description of the project;

### (b)	A review of comments on the effects of air pollutants from the proposed facility on public health and welfare; the effects of the proposed facility on the waters of the Commonwealth; the treatment, handling, and disposal of solid waste from the proposed facility; noise pollution if any; and other adverse environmental effects that cannot be avoided; and

### (c)	A review of permit applications for air, water, and waste.

## (2)	Sixty (60) days after receipt of a completed application, the cabinet shall submit an environmental compatibility report, along with documentation upon which the report was based, and any recommendations for mitigating any adverse environmental effects, to the applicant.

## (3)	The cabinet shall impose a fee to be set by administrative regulation to defray the cost of producing, duplicating and processing the application for the environmental compatibility report.

# Section 14.   KRS 278.010 is amended to read as follows:

As used in KRS 278.010 to 278.450, Sections 9, 10, and 12 of this Act, and in KRS 278.990, unless the context otherwise requires:

## (1)	"Corporation" includes private, quasipublic, and public corporations, and all boards, agencies, and instrumentalities thereof, associations, joint-stock companies, and business trusts;

## (2)	"Person" includes natural persons, partnerships, corporations, and two (2) or more persons having a joint or common interest;

## (3)	"Utility" means any person except, for purposes of paragraphs (a), (b), (c), (d), and (f) of this subsection, a city, who owns, controls, operates, or manages any facility used or to be used for or in connection with:

### (a)	The generation, production, transmission, or distribution of electricity to or for the public, for compensation, for lights, heat, power, or other uses;

### (b)	The production, manufacture, storage, distribution, sale, or furnishing of natural or manufactured gas, or a mixture of same, to or for the public, for compensation, for light, heat, power, or other uses;

### (c)	The transporting or conveying of gas, crude oil, or other fluid substance by pipeline to or for the public, for compensation;

### (d)	The diverting, developing, pumping, impounding, distributing, or furnishing of water to or for the public, for compensation;

### (e)	The transmission or conveyance over wire, in air, or otherwise, of any message by telephone or telegraph for the public, for compensation; or

### (f)	The collection, transmission, or treatment of sewage for the public, for compensation, if the facility is a subdivision collection, transmission, or treatment facility plant that is affixed to real property and is located in a county containing a city of the first class or is a sewage collection, transmission, or treatment facility that is affixed to real property, that is located in any other county, and that is not subject to regulation by a metropolitan sewer district or any sanitation district created pursuant to KRS Chapter 220;

## (4)	"Retail electric supplier" means any person, firm, corporation, association, or cooperative corporation, excluding municipal corporations, engaged in the furnishing of retail electric service;

## (5)	"Certified territory" shall mean the areas as certified by and pursuant to KRS 278.017;

## (6)	"Existing distribution line" shall mean an electric line which on June 16, 1972, is being or has been substantially used to supply retail electric service and includes all lines from the distribution substation to the electric consuming facility but does not include any transmission facilities used primarily to transfer energy in bulk;

## (7)	"Retail electric service" means electric service furnished to a consumer for ultimate consumption, but does not include wholesale electric energy furnished by an electric supplier to another electric supplier for resale;

## (8)	"Electric-consuming facilities" means everything that utilizes electric energy from a central station source;

## (9)	"Generation and transmission cooperative," or "G&T," means a utility formed under KRS Chapter 279 that provides electric generation and transmission services;

## (10)	"Distribution cooperative" means a utility formed under KRS Chapter 279 that provides retail electric service;

## (11)	"Facility" includes all property, means, and instrumentalities owned, operated, leased, licensed, used, furnished, or supplied for, by, or in connection with the business of any utility;

## (12)	"Rate" means any individual or joint fare, toll, charge, rental, or other compensation for service rendered or to be rendered by any utility, and any rule, regulation, practice, act, requirement, or privilege in any way relating to such fare, toll, charge, rental, or other compensation, and any schedule or tariff or part of a schedule or tariff thereof;

## (13)	"Service" includes any practice or requirement in any way relating to the service of any utility, including the voltage of electricity, the heat units and pressure of gas, the purity, pressure, and quantity of water, and in general the quality, quantity, and pressure of any commodity or product used or to be used for or in connection with the business of any utility;

## (14)	"Adequate service" means having sufficient capacity to meet the maximum estimated requirements of the customer to be served during the year following the commencement of permanent service and to meet the maximum estimated requirements of other actual customers to be supplied from the same lines or facilities during such year and to assure such customers of reasonable continuity of service;

## (15)	"Commission" means the Public Service Commission of Kentucky;

## (16)	"Commissioner" means one (1) of the members of the commission;

## (17)	"Demand-side management" means any conservation, load management, or other utility activity intended to influence the level or pattern of customer usage or demand, including home energy assistance programs;

## (18)	"Affiliate" means a person that controls or that is controlled by, or is under common control with, a utility;

## (19)	"Control" means the power to direct the management or policies of a person through ownership, by contract, or otherwise;

## (20)	"CAM" means a cost allocation manual which is an indexed compilation and documentation of a company's cost allocation policies and related procedures;

## (21)	"Nonregulated activity" means the provision of competitive retail gas or electric services or other products or services over which the commission exerts no regulatory authority;

## (22)	"Nonregulated" means that which is not subject to regulation by the commission;

## (23)	"Regulated activity" means a service provided by a utility, the rates and charges of which are regulated by the commission;

## (24)	"USoA" means uniform system of accounts which is a system of accounts for public utilities established by the FERC and adopted by the commission;

## (25)	"Arm's length" means the standard of conduct under which unrelated parties, each party acting in its own best interest, would negotiate and carry out a particular transaction;

## (26)	"Subsidize" means the recovery of costs or the transfer of value from one (1) class of customer, activity, or business unit that is attributable to another;

## (27)	"Solicit" means to engage in or offer for sale a good or service, either directly or indirectly and irrespective of place or audience;

## (28)	"USDA" means the United States Department of Agriculture;

## (29)	"FERC" means the Federal Energy Regulatory Commission; and

## (30)	"SEC" means the Securities and Exchange Commission.

# Section 15.   The following KRS section is repealed:

## 278.025   Certificate of environmental compatibility -- Requirements.