# AN ACT relating to water heaters.

Be it enacted by the General Assembly of the Commonwealth of Kentucky:

# âSection 1.   KRS 318.134 is amended to read as follows:

## (1)	No person, firm, or corporation shall:

### (a)	Construct, install, or alter, or cause to be constructed, installed, or altered, any plumbing without first having procured a plumbing installation permit therefor from the office;

### (b)	Use or continue to use, or permit the use or continued use of, any plumbing constructed, installed, or altered under a plumbing installation permit issued therefor where the office through a duly authorized inspector, employee, or agent, finds that the plumbing was not constructed, installed, or altered in accordance with such permit and the Kentucky State Plumbing Code.

## (2)	All applications for plumbing installation permits shall be accompanied by plans and specifications of the proposed plumbing installation, location, and construction of the water supply system to be used. If an on-site sewage disposal system that does not have a surface discharge is proposed, a valid on-site sewage disposal permit issued by the Cabinet for Health and Family Services or its designated agent shall accompany the application.

## (3)	The office shall fix a reasonable schedule of fees and charges to be paid for plumbing installation permits and the necessary inspections incident thereto. The office shall also fix a reasonable schedule of fees and charges to be paid for necessary inspections of the construction, installation, or alteration of plumbing in public buildings.

## (4)	Nothing in this section shall be construed to require a plumbing installation permit or state inspection for the installation of a new water heater or the replacement of a water heater by a homeowner for his or her residential purposes.

# âSection 2.   KRS 318.200 is amended to read as follows:

## (1)	No water-heating device shall be sold or offered for sale in the Commonwealth of Kentucky unless it contains a serial number on it. As used in this section, "water-heating device" means any pressure vessel which heats, stores, and supplies potable water for domestic or commercial purposes other than for space heating.

## (2)	All retailers, wholesalers, and installers selling or offering for sale a water-heating device shall, within thirty (30) days of the date of sale, forward a list of names and addresses of purchasers along with the serial numbers of the devices purchased to the office or to the appropriate agency of county or city government having jurisdiction. For the purposes of this subsection, "purchasers" does not include homeowners purchasing water heaters for installation in their personal residence.