# AN ACT relating to public safety.

Be it enacted by the General Assembly of the Commonwealth of Kentucky:

# âSECTION 1.   A NEW SECTION OF KRS CHAPTER 198B IS CREATED TO READ AS FOLLOWS:

## (1)	As used in this section, unless otherwise provided:

### (a)	"Approved carbon monoxide alarm" means a device:

#### 1.	Meant for the purpose of detecting carbon monoxide, that produces a distinct audible alarm, and that is listed by a nationally recognized, independent, not-for-profit product-safety testing and certification laboratory, to conform to the latest Underwriters Laboratories Standards;

#### 2.	That is battery-powered, plug-in with battery back-up, or wired into the dwelling's AC power line with secondary battery back-up; and

#### 3.	That may be combined with smoke-detecting devices if the combined device complies with applicable law regarding both smoke-detecting devices and carbon monoxide alarms and the combined unit emits an alarm in a manner that clearly differentiates between the two (2) hazards;

### (b)	"Dwelling unit" means an area meant for living, sleeping, or lodging by human occupants;

### (c)	"Fossil fuel" means coal, kerosene, oil, wood, fuel gases, and other petroleum or hydrocarbon products which emit carbon monoxide as a by-product of combustion;

### (d)	"Installed" means that a carbon monoxide alarm is hard-wired into the electrical wiring, directly plugged into an electrical outlet without a switch other than a circuit breaker, or, if the alarm is battery-powered, attached to the wall or ceiling of the dwelling in accordance with National Fire Protection Association codes and standards;

### (e)	"Operational" means working and in service in accordance with manufacturer instructions; and

### (f)	"Single-family dwelling" or "multifamily dwelling" means any building or structure which is wholly or partly used or intended to be used for living, sleeping, or lodging by human occupants.

## (2)	(a)	Every existing single-family dwelling that has a fossil-fuel burning heater or appliance, fireplace, or an attached garage shall have an approved operational carbon monoxide alarm installed within the immediate vicinity of the areas lawfully used for sleeping.

### (b)	Every single-family dwelling, for which a building permit is issued for new construction on or after January 1, 2011, that has a fossil-fuel burning heater or appliance, fireplace, or an attached garage shall have an approved operational carbon monoxide alarm installed within the immediate vicinity of the areas lawfully used for sleeping.

(3)	(a)	Every dwelling unit in an existing multifamily dwelling structure that has a fossil-fuel burning heater or appliance, fireplace, or an attached garage shall have an approved operational carbon monoxide alarm installed within the immediate vicinity of the areas lawfully used for sleeping.

### (b)	Every dwelling unit in a multifamily dwelling structure, for which a building permit is issued for new construction on or after January 1, 2011, that has a fossil-fuel burning heater or appliance, fireplace, or an attached garage, shall have an approved operational carbon monoxide alarm installed within the immediate vicinity of the areas lawfully used for sleeping.

(4)	(a)	The owner of a single-family dwelling or multifamily dwelling unit, which is used for rental purposes and required to be equipped with one (1) or more carbon monoxide alarms, shall:

#### 1.	Provide and install one (1) approved operational carbon monoxide alarm within the immediate vicinity of the areas lawfully used for sleeping;

#### 2.	Replace any required carbon monoxide alarm that has been stolen, removed, found missing, or rendered inoperable during a prior occupancy of the dwelling unit and which has not been replaced by the prior occupant before the commencement of a new occupancy of the dwelling unit; and

#### 3.	Ensure that the batteries are in operating condition at the time the new occupant takes residence in the dwelling unit.

### (b)	In lieu of the requirements of paragraph (a) of this subsection, multifamily dwellings may have approved and operational carbon monoxide alarms installed between ten (10) and twenty-five (25) feet of carbon monoxide-producing central fixtures and equipment, if there is a centralized alarm system or other mechanism for responsible parties to hear the alarm at all times.

### (c)	Except as provided in paragraph (a) of this subsection, the owner of a single-family dwelling or multifamily dwelling unit, which is used for rental purposes and is required to be equipped with one (1) or more carbon monoxide alarms, is not responsible for the maintenance, repair, or replacement of a carbon monoxide alarm or the care and replacement of batteries.

### (d)	The occupant of each dwelling unit in a single-family dwelling or multifamily dwelling, which is used for rental purposes and in which an approved operational carbon monoxide alarm has been provided and installed by the owner, shall:

#### 1.	Keep, test and, maintain the device in good repair;

#### 2.	Replace batteries as needed;

#### 3.	Replace any device that is stolen, removed, missing, or rendered inoperable during the occupancy of the dwelling unit; and

#### 4.	Notify the owner or the authorized agent of the owner in writing of any deficiencies that the tenant cannot correct.

## (5)	No person shall remove batteries from, or in any way render inoperable, a required carbon monoxide alarm, except as part of a process to inspect, maintain, repair, or replace the alarm or replace the batteries.

## (6)	This section does not prevent a county or municipality from enacting more stringent requirements relating to carbon monoxide alarms.

# âSection 2.   This Act takes effect January 1, 2011.