# AN ACT relating to distributed generation of electricity.

Be it enacted by the General Assembly of the Commonwealth of Kentucky:

# âSECTION 1.   A NEW SECTION OF KRS CHAPTER 278 IS CREATED TO READ AS FOLLOWS:

## (1)	By January 1, 2011, the Public Service Commission shall develop guidelines for a tariff to be filed by each retail electric supplier establishing the interconnection procedures and rate at which an eligible customer-generator will be compensated for renewable electricity generated and fed into the transmission grid of that retail electric supplier.

## (2)	The guidelines developed under subsection (1) of this section shall, at a minimum:

### (a)	Develop a standard contract that shall be offered by each retail electric supplier for the purchase of electricity generated by the eligible customer-generator, including the duration of the contract; and

### (b)	Require the retail electric supplier to enter into a contract, upon the request of an eligible customer-generator, to purchase electricity from that eligible customer-generator at a rate that is not less than the renewable energy rate established by the commission pursuant to subsection (3) of this section that applies with respect to the particular renewable resource used by the eligible customer-generator.

## (3)	The commission shall determine, and adjust as appropriate on a biennial basis, the term of the contract and the rate to be paid for each kilowatt hour of renewable electricity purchased under the contract. The contract term and renewable energy rate shall be established for each technology used for electricity generated from an eligible electric generating facility. In determining contract terms and rates, the commission may consider these factors:

### (a)	Investment costs, including material and capital costs, of development of a project, considering those costs associated with comparable projects utilizing that technology;

### (b)	Permitting, licensing, and interconnection costs, including necessary improvements in order to allow grid interconnections;

### (c)	Operation and maintenance costs;

### (d)	Fuel costs;

### (e)	Decommissioning costs; and

### (f)	Available federal or state financial incentives, including tax incentives.

## (4)	Pursuant to subsection (3) of this section, the commission may establish rates within a class of technology based on the size or capacity of an eligible customer-generator if it finds that the size or capacity significantly affects the total costs for development and operation.

## (5)	Electric generating systems and interconnection equipment used by the eligible customer-generator shall meet all applicable safety and power quality standards established by the National Electrical Code, Institute of Electrical and Electronics Engineers, and accredited testing laboratories such as Underwriters Laboratories.

## (6)	Any upgrade of the interconnection between the retail electric supplier and the eligible customer-generator that is required by commission-approved tariffs for the purposes of allowing the feed-in of electricity to the grid shall be made at the expense of the eligible customer-generator, with no pass-through to retail electric customers.

## (7)	The difference between the cost of electricity under subsection (3) of this section pursuant to a commission-approved tariff, and the avoided generation cost for that retail electric supplier may be recovered as part of a proceeding initiated pursuant to this section which shall be limited to a review of the purchase contracts and amount of electricity purchased under the renewable energy tariff during the period for which cost recovery is sought.

## (8)	Beginning on January 1, 2013, and every two (2) years thereafter, the commission shall review the tariffs for each technology for which a tariff has been established, and the interconnection guidelines, and shall adjust the rates and guidelines as necessary in order to effectuate the purposes of this section.

# âSection 2.   KRS 278.465 is amended to read as follows:

As used in KRS 278.465 to 278.468:

## (1)	"Eligible customer-generator" means a customer of a retail electric supplier who owns and operates an electric generating facility that is located on the customer's premises, for the primary purpose of supplying all or part of the customer's own electricity requirements.

## (2)	"Eligible electric generating facility" means an electric generating facility that:

### (a)	Is connected in parallel with the electric distribution system;

### (b)	Generates electricity using:

#### 1.	Solar energy;

#### 2.	Wind energy;

#### 3.	Biomass or biogas energy; or

#### 4.	Hydro energy; and

### (c)	Has a rated capacity of not greater than seventy-five (75)[thirty (30)] kilowatts.

## (3)	"Kilowatt hour" means a measure of electricity defined as a unit of work of energy, measured as one (1) kilowatt of power expended for one (1) hour.

## (4)	"Net metering" means measuring the difference between the electricity supplied by the electric grid and the electricity generated by an eligible customer-generator that is fed back to the electric grid over a billing period.

# âSection 3.   KRS 278.466 is amended to read as follows:

## (1)	Each retail electric supplier shall make net metering available to any eligible customer-generator that the supplier currently serves or solicits for service. If the cumulative generating capacity of net metering systems reaches three percent (3%)[one percent (1%)] of a supplier's single hour peak load during the previous year, the obligation of the supplier to offer net metering to a new customer-generator may be limited by the commission.

## (2)	Each retail electric supplier serving a customer with eligible electric generating facilities shall use a standard kilowatt-hour meter capable of registering the flow of electricity in two (2) directions. Any additional meter, meters, or distribution upgrades needed to monitor the flow in each direction shall be installed at the customer-generator's expense. If additional meters are installed, the net metering calculation shall yield the same result as when a single meter is used.

## (3)	The amount of electricity billed to the eligible customer-generator using net metering shall be calculated by taking the difference between the electricity supplied by the retail electric supplier to the customer and the electricity generated and fed back by the customer. If time-of-day or time-of-use metering is used, the electricity fed back to the electric grid by the eligible customer-generator shall be net-metered and accounted for at the specific time it is fed back to the electric grid in accordance with the time-of-day or time-of-use billing agreement currently in place.

## (4)	Each net metering contract or tariff shall be identical, with respect to energy rates, rate structure, and monthly charges, to the contract or tariff to which the same customer would be assigned if the customer were not an eligible customer-generator.

## (5)	The following rules shall apply to the billing of net electricity:

### (a)	The net electricity produced or consumed during a billing period shall be read, recorded, and measured in accordance with metering practices prescribed by the commission;

### (b)	If the electricity supplied by the retail electric supplier exceeds the electricity generated and fed back to the supplier during the billing period, the customer-generator shall be billed for the net electricity supplied in accordance with subsections (3) and (4) of this section;

### (c)	If the electricity fed back to the retail electric supplier by the customer-generator exceeds the electricity supplied by the supplier during a billing period, the customer-generator shall be paid[credited] for the excess kilowatt hours in accordance with Section 1 of this Act[subsections (3) and (4) of this section. This electricity credit shall appear on the customer-generator's next bill. Credits shall carry forward for the life of the customer-generator's account]; and

### (d)[	If a customer-generator closes his account, no cash refund for residual generation-related credits shall be paid; and

### (e)]	Excess electricity credits are not transferable between customers or locations.

## (6)	Electric generating systems and interconnecting equipment used by eligible customer-generators shall meet all applicable safety and power quality standards established by the National Electrical Code (NEC), Institute of Electrical and Electronics Engineers (IEEE), and accredited testing laboratories such as Underwriters Laboratories.

## (7)	An eligible customer-generator installation is transferable to other persons or service locations upon notification to the retail electric supplier and verification that the installation is in compliance with the applicable safety and power quality standards in KRS 278.467 and in subsection (6) of this section.

## (8)	Any upgrade of the interconnection between the retail electric supplier and the customer-generator that is required by commission-approved tariffs for the purpose of allowing net metering shall be made at the expense of the customer-generator.