# AN ACT to promote utility-assisted improvements in energy efficiency, programs for home energy assistance, and combined heat and power facilities.

Be it enacted by the General Assembly of the Commonwealth of Kentucky:

# âSECTION 1.   A NEW SECTION OF KRS CHAPTER 278 IS CREATED TO READ AS FOLLOWS:

As used in Sections 1 to 3 of this Act:

## (1)	"Combined heat and power" means a system that:

### (a)	Uses the same energy source for the simultaneous or sequential generation of electric power, mechanical power, or both, in combination with the generation of steam or other forms of useful thermal energy, including heating and cooling applications;

### (b)	Produces at least twenty percent (20%) if its total useful energy in the form of thermal energy, and at least fifteen percent (15%) of its total useful energy in the form of electrical or mechanical power, or a combination thereof;

### (c)	Has a net effective heat rate of no more than seven thousand five hundred (7,500) British thermal units per kilowatt-hour, calculated on a higher heating value basis;

### (d)	Is designed for continuous operation; and

### (e)	If generating electricity, provides electricity primarily for use by a facility or group of facilities located near the point where the electricity is generated, and from which net wholesale sales of electricity are not in excess of fifty percent (50%) of total annual generation.

# (2)	"Commission" means the Public Service Commission.

### (3)	"Integrated resource planning" means, in the case of an electric or natural gas utility, a planning and selection process for new energy resources that evaluates the full range of alternatives, including new generating capacity, power purchases, energy conservation and efficiency, combined heat and power and district heating and cooling applications, and renewable energy resources, in order to provide adequate and reliable service to its customers at the lowest system cost. The process shall take into account any necessary features for system operation, such as diversity, reliability, dispatchability, and other factors of risk; shall take into account the ability to verify energy savings achieved through energy conservation and efficiency and the projected durability of such savings measured over time; and shall treat demand and supply resources on a consistent and integrated basis.

# âSECTION 2.   A NEW SECTION OF KRS CHAPTER 278 IS CREATED TO READ AS FOLLOWS:

## (1)	The commission shall exercise its authority pursuant to KRS 278.040 to regulate jurisdictional utilities in such a manner as to encourage or require the utilities to help their customers enhance the efficiency with which energy is used. Not later than July 31, 2011, the commission shall ensure that each jurisdictional energy utility develops, offers, and administers a set of energy efficiency programs that are available, affordable, cost-effective, ongoing, and useful to all classes of customers. No customer shall be allowed to opt out of paying for utility-sponsored energy efficiency programs. Revenue collected from any customer class may be used to fund programs in the same or any other customer class.

## (2)	To the limit of its jurisdiction, and not later than July 31, 2011, the commission shall implement throughout Kentucky the following regulatory standards contained in 16 U.S.C. sec. 2621(d):

### (a)	Integrated resource planning, 16 U.S.C. sec. 2621 (d)(7);

### (b)	Investments in conservation and demand management, 16 U.S.C. sec. 2621 (d)(8);

### (c)	Energy efficiency investments in power generation and supply, 16 U.S.C. sec. 2621 (d)(9);

### (d)	Net metering, 16 U.S.C. sec. 2621 (d)(11);

### (e)	Fuel sources, 16 U.S.C. sec. 2621 (d)(12);

### (f)	Interconnection, 16 U.S.C. sec. 2621 (d)(15); and

### (g)	Rate design modifications to promote energy efficiency investments, 16 U.S.C. sec. 2621 (d)(17).

## (3)	To the limit of its jurisdiction, and not later than July 31, 2011, the commission shall implement throughout Kentucky the following regulatory standards for natural gas utilities contained in Title 15 of the U.S. Code, Section 3203(b):

### (a)	Integrated resource planning, 15 U.S.C. sec. 3203 (b)(3);

### (b)	Investments in conservation and load management, 15 U.S.C. sec. 3203 (b)(4).

### (c)	Energy efficiency, 15 U.S.C. sec. 3203 (b)(5); and

### (d)	Rate design modifications to promote energy efficiency investments, 15 U.S.C. sec. 3203 (b)(6).

# âSECTION 3.   A NEW SECTION OF KRS CHAPTER 278 IS CREATED TO READ AS FOLLOWS:

## (1)	The primary criterion that the commission shall use in determining the cost-effectiveness of energy efficiency and other demand-side management programs, and in comparing demand-side investments to supply-side investments, shall be the societal cost test, taking appropriate account of the economic costs of environmental externalities. In order to ensure that relevant information about environmental externalities is given proper consideration, the commission shall facilitate the full intervention of environmental organizations and individual environmentalists in all proceedings that involve the rates, tariffs, services, resource plans, and capital construction projects of jurisdictional energy utilities.

## (2)	The commission may include home energy assistance programs in the set of programs covered in this section. To be approved by the commission for implementation, home energy assistance programs shall not be required to score as high on the societal cost test or other cost-effectiveness tests as other demand-side management programs.

## (3)	Not later than July 31, 2011, the commission shall promulgate a substantially rewritten version of 807 KAR 5:054 that shall encourage cost-effective cogeneration and small power production, taking appropriate account of the economic costs of environmental externalities. The commission shall eliminate from 807 KAR 5:054 any regulatory provisions or policies that would unjustly impede cost-effective cogeneration and small power production.

## (4)	The commission may implement the provisions of this section as part of a proceeding for approval of new rate schedules initiated pursuant to KRS 278.190 or in a separate proceeding initiated pursuant to Sections 1 to 3 of this Act, which shall be limited to a review of demand-side management and home energy assistance issues and related cost recovery issues as set forth in this section.

# âSection 4.   The following KRS section is repealed:

## 278.285   Demand-side management plans -- Review and approval of proposed plans and mechanisms -- Assignment of costs -- Home energy assistance programs.