# AN ACT relating to radon testing.

Be it enacted by the General Assembly of the Commonwealth of Kentucky:

# âSECTION 1.   A NEW SECTION OF KRS CHAPTER 198B IS CREATED TO READ AS FOLLOWS:

## (1)	As used in this section:

### (a)	"Zone 1" means a designated geographic area containing the highest indoor predicted average screening level of concentration of radon gas in a specific volume as determined by the Cabinet for Health and Family Services;

### (b)	"Public building" means a building designed for the following occupancies as set out in KRS 198B.010:

#### 1.	Assembly occupancies;

#### 2.	Business occupancies;

#### 3.	Educational occupancies; and

#### 4.	Institutional occupancies; and

### (c)	"Local government" means a city, county, urban-county government, charter county government, consolidated local government, or a unified local government.

## (2)	Each public building located in a county designated as a Zone 1 county, the construction of which begins on or after January 1, 2011, shall be tested for radon by the owner of the building. No certificate of occupancy shall be issued by either a local government or the Office of Housing, Buildings and Construction, whichever is applicable, until the public building has been tested.

## (3)	The public building shall be tested by a radon professional certified by the Cabinet for Health and Family Services under the provisions of KRS 211.856. The radon test kits and test procedure shall conform to the requirements established by the Cabinet for Health and Family Services pursuant to administrative regulations promulgated in accordance with KRS Chapter 13A.

## (4)	The Office of Housing, Buildings and Construction shall have the authority to promulgate administrative regulations in accordance with KRS Chapter 13A to establish a procedure for verifying that the radon testing has been done before a certificate of occupancy is issued.