# AN ACT relating to fireworks.

Be it enacted by the General Assembly of the Commonwealth of Kentucky:

# SECTION 1.   A NEW SECTION OF KRS CHAPTER 227 IS CREATED TO READ AS FOLLOWS:

## (1)	Any person who stores consumer fireworks, display fireworks, or pyrotechnic devices at retail, wholesale, storage, or manufacturing facilities in this state shall submit a report in accordance with this section to the local fire chief of the jurisdiction where the facilities are located. As used in this section, "person" means any individual, business, union, committee, club, or other organization or group of individuals.

## (2)	The report required in subsection (1) of this section shall:

### (a)	Be completed by the property owner or lessee who is storing the consumer fireworks, display fireworks, or pyrotechnic devices;

### (b)	Include the address of the facility, the exact location of the fireworks to be stored, and a drawing of the storage facility;

### (c)	Be updated within fifteen (15) days of any change in location of the storage or facility; and

### (d)	Be submitted:

#### 1.	No later than January 31, 2012, for any person who is storing consumer fireworks, display fireworks, or pyrotechnic devices on January 1, 2012; and

#### 2.	Within fifteen (15) days of when storage begins for any person who stores consumer fireworks, display fireworks, or pyrotechnic devices after January 1, 2012.

## (3)	Seasonal retailers with temporary stands in this state shall also submit, at least fifteen (15) days prior to opening for sale each year, a report to the local fire chief of the jurisdiction where each temporary stand is located that includes:

### (a)	The address where the sales will be taking place;

### (b)	The address where the fireworks will be stored; and

### (c)	A description of how the fireworks will be stored.

## Reports submitted under this subsection shall be updated within fifteen (15) days of any change in location of the temporary stand or storage facility.

## (4)	The local fire chief or the state fire marshal, or their respective designees, may inspect any facility for which a report has been submitted under this section after giving forty-eight (48) hours’ notice to the owner, lessee, or seasonal retailer, as appropriate.

## (5)	Failure to submit a report to the local fire chief as required under this section shall be cause for an action to obtain a court order to cease and desist operation of the facility or site until the required information is properly submitted.

# Section 2.   KRS 227.700 is amended to read as follows:

[The term ]"Fireworks" means[shall mean] any composition or device for the purpose of producing a visible or an audible effect by combustion, deflagration, or detonation, and which meets the definition of "consumer fireworks[common]" in Section 3 of this Act or "display fireworks" in Section 5 of this Act, and[special" fireworks] as set forth in the United States Department of Transportation's (DOT) hazardous materials regulations.

## (1)	Exception number 1: Toy pistols, toy canes, toy guns or other devices in which paper or plastic caps manufactured in accordance with DOT regulations, and packed and shipped according to said regulations, are not considered to be fireworks and shall be allowed to be used and sold at all times.

## (2)	Exception number 2: Model rockets and model rocket motors designed, sold, and used for the purpose of propelling recoverable aero models are not considered to be fireworks.

## (3)	Exception number 3: Propelling or expelling charges consisting of a mixture of sulfur, charcoal, and saltpeter are not considered as being designed for producing audible effects.

# Section 3.   KRS 227.702 is amended to read as follows:

"Consumer[Common] fireworks" means[are] fireworks suitable for use by the public and designed primarily to produce visible effects by combustion and must comply with the construction, chemical composition, and labeling regulations of the United States Consumer Product[Products] Safety Commission. The types, sizes, and amount of pyrotechnic contents of these devices are limited as enumerated in this section. Some small devices designed to produce audible effects are included, such as whistling devices, ground devices containing fifty (50) mg. or less of explosive composition, and aerial devices containing one hundred thirty (130) mg. or less of explosive composition. Consumer[Common] fireworks are described by the Consumer Product Safety Commission in CPSC, 16 C.F.R. Pts. 1500 and 1507, are classified as class C explosives by the United States Department of Transportation, and include the following:

## (1)	Ground and hand-held sparkling devices.

### (a)	Dipped stick-sparkler. Stick or wire coated with pyrotechnic composition that produces a shower of sparks upon ignition. Total pyrotechnic composition may not exceed one hundred (100) grams per item. Those devices containing any perchlorate or chlorate salts may not exceed five (5) grams of pyrotechnic composition per item. Wire sparklers which contain no magnesium and which contain less than one hundred (100) grams of composition per item are not included in this category, in accordance with DOT regulations;

### (b)	Cylindrical fountain. Cylindrical tube not more than three-fourths (3/4) in. (19 mm) inside diameter, containing up to seventy-five (75) grams of pyrotechnic composition. Upon ignition, a shower of colored sparks, and sometimes a whistling effect, is produced. This device may be provided with a spike for insertion into the ground (spike fountain), a wood or plastic base for placing on the ground (base fountain), or a wood or cardboard handle, if intended to be hand-held (handle fountain);

### (c)	Cone fountain. Cardboard or heavy paper cone containing up to fifty (50) grams of pyrotechnic composition. The effect is the same as that of a cylindrical fountain;

### (d)	Illuminating torch. Cylindrical tube containing up to one hundred (100) grams of pyrotechnic composition. Upon ignition, colored fire is produced. May be spike, base or hand-held;

### (e)	Wheel. Pyrotechnic device attached to a post or tree by means of a nail or string. Each wheel may contain up to six (6) "driver" units: tubes not exceeding one-half (1/2) in. (12.5 mm) inside diameter and containing up to sixty (60) grams of pyrotechnic composition. Upon ignition, the wheel revolves, producing a shower of color and sparks and, sometimes, a whistling effect;

### (f)	Ground spinner. Small device similar to a wheel in design and effect and placed on the ground and ignited. A shower of sparks and color is produced by the rapidly spinning device; and

### (g)	Flitter sparkler. Narrow paper tube filled with pyrotechnic composition that produces color and sparks upon ignition. This device does not have a fuse for ignition. The paper at one (1) end of the tube is ignited to make the device function;

## (2)	Aerial devices.

### (a)	Sky rocket. Tube not exceeding one-half (1/2) in. (12.5 mm) inside diameter that may contain up to twenty (20) grams of pyrotechnic composition. Sky rockets contain a wooden stick for guidance and stability and rise into the air upon ignition. A burst of color or noise or both is produced at the height of flight;

### (b)	Missile-type rocket. A device similar to a sky rocket in size, composition, and effect that uses fins rather than a stick for guidance and stability;

### (c)	Helicopter, aerial spinner. A tube not more than one-half (1/2) in. (12.5 mm) inside diameter and containing up to twenty (20) grams of pyrotechnic composition. A propeller or blade is attached, which, upon ignition, lifts the rapidly spinning device into the air. A visible or audible effect is produced at the height of flight;

### (d)	Roman candles. Heavy paper or cardboard tube not exceeding three-eighths (3/8) in. (9.5 mm) inside diameter and containing up to twenty (20) grams of pyrotechnic composition. Upon ignition, up to ten (10) "stars" (pellets of pressed pyrotechnic composition that burn with bright color) are individually expelled at several second intervals; and

### (e)	Mine, shell. Heavy cardboard or paper tube up to two and one-half (2-1/2) in. (63.5 mm) inside diameter attached to a wood or plastic base and containing up to forty (40) grams of pyrotechnic composition. Upon ignition, "stars," firecrackers, or other devices are propelled into the air. The tube remains on the ground;

## (3)	Audible ground devices.

### (a)	Firecrackers, salutes. Small paper-wrapped or cardboard tube containing not more than fifty (50) mg. of pyrotechnic composition. Upon ignition, noise and a flash of light is produced; and

### (b)	Chaser. Small paper or cardboard tube that travels along the ground upon ignition. A whistling effect, or other noise, is often produced. The explosive composition used to create the noise may not exceed fifty (50) mg; and

## (4)	Combination items. Firework devices containing combinations of two (2) or more of the effects described in paragraphs (a), (b), and (c) of subsection (2) of this section.

# Section 4.   KRS 227.704 is amended to read as follows:

Items listed in this section are classified as novelties and trick noisemakers and are not classified as consumer[common] fireworks by the United States Department of Transportation.

## (1)	Snake, glow worm. Pressed pellet of pyrotechnic composition that produces a large, snake-like ash upon burning. The ash expands in length as the pellet burns. These devices may not contain mercuric thiocyanate.

## (2)	Smoke device. Tube or sphere containing pyrotechnic composition that, upon ignition, produces white or colored smoke as the primary effect.

## (3)	Wire sparkler. Wire coated with pyrotechnic composition that produces a shower of sparks upon ignition. These items may not contain magnesium and must not exceed one hundred (100) grams of pyrotechnic composition per item. Devices containing any chlorate or perchlorate salts may not exceed five (5) grams of pyrotechnic composition per item.

## (4)	Trick noisemaker. Item that produces a small report intended to surprise the user. These devices include:

### (a)	Party popper. Small plastic or paper item containing not more than sixteen (16) mg. of explosive composition that is friction sensitive. A string protruding from the device is pulled to ignite it, expelling paper streamers and producing a small report.

### (b)	Booby trap. Small tube with string protruding from both ends, similar to a party popper in design. The ends of the string are pulled to ignite the friction sensitive composition, producing a small report.

### (c)	Snapper. Small, paper-wrapped item containing a minute quantity of explosive composition coated on small bits of sand. When dropped, the device explodes producing a small report.

### (d)	Trick match. Kitchen or book match that has been coated with a small quantity of explosive or pyrotechnic composition. Upon ignition of the match a small report or a shower of sparks is produced.

### (e)	Cigarette load. Small wooden peg that has been coated with a small quantity of explosive composition. Upon ignition of a cigarette containing one (1) of the pegs, a small report is produced.

### (f)	Auto burglar alarm. Tube which contains pyrotechnic composition that produces a loud whistle or smoke, or both, when ignited. A small quantity of explosive, not exceeding fifty (50) mg. may also be used to produce a small report. A squib is used to ignite the device.

# Section 5.   KRS 227.706 is amended to read as follows:

"Display[The term "special] fireworks" means[shall mean] large fireworks designed primarily to produce visible or audible effects by combustion, deflagration or detonation. This term includes, but is not limited to, firecrackers containing more than two (2) grains (130 mg) of explosive composition, aerial shells containing more than forty (40) grams of pyrotechnic composition, and other display pieces which exceed the limits for classification as "consumer[common] fireworks." Display[Special] fireworks are described by the Consumer Product Safety Commission in CPSC, 16 C.F.R. Pts. 1500 and 1507, and are classified as Class B explosives by the United States Department of Transportation.

# Section 6.   KRS 227.710 is amended to read as follows:

No person, firm, copartnership, or corporation shall offer for sale, expose for sale, sell at retail, keep with intent to sell, possess, use, or explode any fireworks, except as follows:

(1)	(a)	In cities the chief of the fire department, or mayor, or similar official where there is no fire department, and in counties outside of cities the county judge/executive, may grant permits for supervised public displays of fireworks to any person licensed by the Bureau of Alcohol, Tobacco, Firearms and Explosives to handle fireworks for[by] municipalities, fair associations, amusement parks, and other organizations or groups of individuals.[ ]

### (b)	Every display shall be handled by a competent display operator to be approved by the public official by whom the permit is granted, and shall be of such character, and so located, discharged or fired as in the opinion of the official, after proper inspection, to[shall] not be hazardous to property or endanger any person.[ ]

### (c)	As used in this subsection, "competent display operator" means the person with overall responsibility for the operation and safety of a fireworks display. The competent display operator shall:

#### 1.	Have a Bureau of Alcohol, Tobacco, Firearms and Explosives License; or

#### 2.	Be registered with the United States Department of Justice Bureau of Alcohol, Tobacco, Firearms and Explosives as a shooter or employee possessor of the licensee, who has participated as an assistant in training in at least five (5) Class B displays.

(d)	1.	At least one (1) competent display operator shall be on-site during display set-up and firing.

#### 2.	This competent display operator shall maintain on site and at all times the display is in place a copy of the permit application for supervised public display of fireworks signed by the local fire chief.

#### 3.	The permit application shall be presented on demand of the state fire marshal or local fire chief.

### (e)	Permits shall be filed with the state fire marshal at least fifteen (15) days in advance of the date of the display. After the privilege is granted, sales, possession, use, and distribution of fireworks for the display shall be lawful for that purpose only. No permit granted under this subsection shall be transferable. For the purposes of this subsection, "public display of fireworks" shall include the use of pyrotechnic devices or pyrotechnic materials before a proximate audience, whether indoors or outdoors.

### (f)	Any person remaining within the display area shall be identified as a shooter or employee possessor registered with the Bureau of Alcohol, Tobacco, Firearms and Explosives, or be an assistant in training to become a competent display operator. All persons remaining in the display area shall be at least eighteen (18) years of age.

## (2)	The sale, at wholesale, of any fireworks for supervised displays by any resident manufacturer, wholesaler, dealer, or jobber, in accordance with regulations of the United States Bureau of Alcohol, Tobacco, [and ]Firearms and Explosives, if the sale is to the person holding a display permit as outlined in subsection (1) of this section. The permit holder shall present the permit along with other verifiable identification at the time of sale.

## (3)	The sale, at wholesale, of any kind of fireworks by any resident manufacturer, wholesaler, dealer, or jobber, provided the fireworks are intended for shipment directly out of state in accordance with regulations of the United States Department of Transportation.

## (4)	The sale and use in emergency situations of pyrotechnic signaling devices and distress signals for marine, aviation, and highway use.

## (5)	The use of fuses and railway torpedoes by railroads.

## (6)	The sale and use of blank cartridges for use in a show or theater or for signal or ceremonial purpose in athletics or sports.

## (7)	The use of any pyrotechnic device by military organizations.

## (8)	The use of fireworks for agricultural purposes under the direct supervision of the United States Department of the Interior or any equivalent or local agency.

## (9)	The sale and use of consumer[common] fireworks as permitted pursuant to KRS 227.715.

# Section 7.   KRS 227.715 is amended to read as follows:

Except as provided in KRS 227.710, the consumer[common] fireworks described in KRS 227.702(1) may be offered for sale, sold at retail, or kept with the intent to sell, only if the following requirements are met:

(1)	(a)	Any person or business intending to sell the consumer[common] fireworks described in KRS 227.702(1) shall register annually with the state fire marshal, who may assess a fee of no more than fifty dollars ($50) for each site at which fireworks shall be sold.

(b)	1.	The registration requirement under this section shall not apply to permanent business establishments which are open year round and in which the sale of fireworks is ancillary to the primary course of business.

#### 2.	Permanent business establishments open year round and in which the sale of consumer fireworks is ancillary to the primary course of business shall only be permitted to sell those consumer fireworks described in KRS 227.702(1);

## (2)	Any person or business intending to sell consumer fireworks year round as the primary source of business shall obtain a license from and register annually with the state fire marshal, who may assess a fee of no more than two hundred fifty dollars ($250) for each site at which fireworks will be sold;

(3)	(a)	The annual registration required by subsection (1) of this section shall be received by the state fire marshal at least fifteen (15) days prior to offering fireworks for sale at the site for which the registration is intended;

### (b)	The annual registration required by subsection (2) of this section shall be received by the state fire marshal no later than January 31 each year prior to offering fireworks for sale at the site for which registration is intended;

## (4)	Any person or business intending to sell consumer fireworks on a seasonal basis at a temporary location shall obtain a seasonal license from and register no later than fifteen (15) days prior to the sale of any fireworks with the state fire marshal, who may assess a fee of no more than two hundred fifty dollars ($250) for each site at which fireworks will be sold. A seasonal license holder shall only be permitted to sell fireworks from June 20 to July 7 at each location;

## (5)	As a condition of registration or licensure under subsections (1) to (4) of this section, evidence that a sales and use tax permit has been obtained from the Department of Revenue shall be presented to the state fire marshal.

## (6)[(3)]	Each site at which fireworks are offered for sale shall have its registration certificate displayed in a conspicuous location at the site;

## (7)[(4)]	Each site at which fireworks are offered for sale shall have a working fire extinguisher at the site, in compliance with NFPA Pamphlet 10;

## (8)[(5)]	A consumer[No common] fireworks item that[shall be offered for sale if it] has as part of its device any wings, fins, or other mechanism designed to cause the device to fly, or that[if it] carries a cautionary label which includes in its description any of the following terms: "explosive," "emits flaming pellets," "flaming balls," "firecracker," "report," or "rocket,[rocket;]" shall not be offered for sale where:

### (a)	There is an open flame or electric or gas cooking devices;

### (b)	Paint, oils, varnishes, turpentine, resins, or any other flammable substance is stored or sold; or

### (c)	Butane lighters or lighter fluid is sold;

## (9)	At all places where fireworks are stored or sold there shall be posted signs with the words "Fireworks-No Smoking" in letters not less than four (4) inches high;

## (10)[(6)]	No person or business shall give, offer for sale, or sell any consumer[common] fireworks listed in KRS 227.702 to any person under eighteen (18) [sixteen (16)] years of age;

## (11)[(7)]	The state fire marshal may revoke the registration of any site which is in violation of a requirement of this section, or any other requirement provided pursuant to this chapter. If the violation renders any property especially susceptible to fire loss, and there is present such hazard to human life or limb that the public safety imperatively requires emergency action, the state fire marshal may take that action, as provided in KRS 227.330(6); and

## (12)	Nothing shall prohibit a person from possessing or using consumer fireworks as described in KRS 227.702.

### (a)	A person possessing or using consumer fireworks shall be eighteen (18) years of age or older.

### (b)	A person possessing or using consumer fireworks shall not ignite the fireworks within two hundred (200) feet of any structural standing, vehicle, or any person.

### (c)	A person possessing or using consumer fireworks shall not ignite fireworks after 10 p.m. Sunday through Thursday.

### (d)	A person possessing or using consumer fireworks shall not ignite fireworks after 11 p.m. on Friday and Saturday.

### (e)	A person possessing or using consumer fireworks shall not ignite fireworks after 12 midnight on holidays such as July 4 of each year and December 31 of each year.