# Beginning on page 1, line 3, and continuing through page 2, line 7, delete Section 1 of the Act in its entirety and insert in lieu thereof the following:

# "SECTION 1.   A NEW SECTION OF KRS CHAPTER 235 IS CREATED TO READ AS FOLLOWS:

## (1)	All boat dock or marina owners or operators shall comply with the following requirements to prevent electrical shock, electrocution, or injury to users of their facilities and the surrounding areas:

### (a)	Install and maintain all electrical wiring by a holder of a valid Kentucky electrician license or master electrician license in accordance with the most recently adopted versions of the National Fire Protection Association's Standards for Marinas and Boatyards (NFPA 303) and the National Electric Code (NFPA 70);

### (b)	Connect all boat dock and marina electrical wiring circuits through ground fault circuit interrupters;

### (c)	Cause annual inspection by a Kentucky certified electrical inspector of all sources of electrical supply, including ship-to-shore power pedestals, submergible pumps, and sewage pump-out facilities, that could result in unsafe electrical current in the water; and

### (d)	Install permanent safety signage with print legible at eighty (80) feet of distance on every pier and throughout the boat dock or marina that states: "ELECTRIC SHOCK HAZARDS EXIST IN THE WATER. NO SWIMMING".

## (2)	Electrical maintenance and wiring of a boat dock or marina that leases or rents motorboats or vessels shall comply with the electrical standards of the American Boat and Yacht Council (ABYC), and all work on rental motor boats or vessels shall be performed by electricians or master electricians licensed in Kentucky.

## (3)	Swimming shall be strictly prohibited at any location within one hundred (100) yards of any boat dock or marina, except that swimming shall be permitted for reasons of search or rescue in the water in the event of a boating or other emergency.

## (4)	By August 1, 2013, each boat dock and marina shall be in full compliance with this section and subject to the penalties under subsection (10) of Section 4 of this Act.

## (5)	This section shall be known as the Samantha Chipley Act."; and

# On page 4, line 2, delete "man-made"; and

# On page 4, line 8, delete "; and" and insert "." in lieu thereof; and

# On page 4, after line 8, insert the following:

## "	"Boat dock or marina owner or operator" shall not include any private landowner who owns or operates a boat dock or marina for personal use and does not allow public access to the boat dock or marina; and"; and

# On page 5, line 9, delete "a licensed electrician" and insert in lieu thereof "an electrician or master electrician licensed in Kentucky".