# AN ACT relating to sewage disposal systems.

Be it enacted by the General Assembly of the Commonwealth of Kentucky:

# Section 1.   KRS 211.350 is amended to read as follows:

## (1)	The cabinet shall regulate the construction, installation, or alteration of on-site sewage disposal systems except for systems that have a surface discharge.

## (2)	No person, firm, or corporation shall construct, install, alter, or cause to be constructed, installed, or altered, any on-site sewage disposal system subject to regulation by the cabinet without having first obtained an on-site sewage disposal permit from the local health department[cabinet]. Nothing in this section shall be construed[ as] to deny a farmstead owner the right to obtain a permit. Except for farmstead owners on their own property, the construction, installation, or alteration shall be performed only by a person certified by the cabinet pursuant to KRS 211.357.

## (3)	No person, firm, or corporation shall use or continue to use or permit the use or continued use of any on-site sewage disposal system that is constructed, installed, or altered under an on-site sewage disposal permit if the cabinet or local health department through a duly-authorized inspector, employee, or agent finds that the system was not constructed, installed, or altered in conformance with the permit and regulations issued by the cabinet.

## (4)	No certified electrical inspector acting under authority of KRS 227.491 shall issue the certificates of approval of temporary or permanent electrical wiring unless the inspector has in his or her possession a notice of release as described in paragraphs (a) and (b) of this subsection. The inspector shall record the number of the notice of release on the certificate of approval. The person requesting approval of electrical wiring shall be responsible for obtaining the release from the local health department and providing it to the electrical inspector. This requirement shall only apply to dwellings, mobile homes, manufactured housing, buildings, or other structures that are constructed or installed after the effective date of this Act. This requirement shall not apply to structures that do not have sewage waste fixtures or to those that are connected to a sewage waste disposal system approved by the Natural Resources and Environmental Protection Cabinet. Nothing in this section shall be construed to deny the continued use of any electrical service connected to wiring approved prior to the effective date of this Act.

### (a)	An initial notice of release to allow temporary electrical power for construction shall be issued to the property owner or owner's agent by the local health department upon the application for a site evaluation.

### (b)	A final notice of release to allow for permanent electrical power shall be issued to the property owner or owner's agent by the local health department upon approval of an on-site sewage disposal plan.

### (c)	This section shall not apply to any county that has adopted the Uniform State Building Code and has and enforces on-site sewage disposal permitting.

## (5)	All applications for on-site sewage disposal permits shall be accompanied by plans and specifications for the proposed system, including results of soils tests and other information as directed by the cabinet by regulation. Any action to deny an application shall be subject to appeal, and upon appeal an administrative hearing shall be conducted in accordance with KRS Chapter 13B.

## (6)[(5)]	The cabinet shall fix a schedule of fees for the functions performed by the cabinet relating to the regulation of on-site sewage disposal systems. The fees shall be designed to fully cover the cost of the service performed but shall not exceed the cost of the service performed. Fees payable to the cabinet shall be paid into the State Treasury and credited to a trust and agency fund to be used by the cabinet in carrying out its responsibilities relating to the regulation of on-site sewage disposal systems. No part of the fund shall revert to the general fund of the Commonwealth.

## (7)[(6)]	Any regulation relating to on-site sewage disposal that is in effect on July 15, 1992, shall remain in effect until altered by the secretary. The secretary may issue additional regulations necessary to carry out the purposes of this section.

## (8)[(7)]	Nothing in this section shall authorize or allow the cabinet to inspect or take enforcement action against on-site sewage disposal systems installed on farmsteads prior to July 15, 1992, or modifications to those systems unless the actions are determined in writing by the cabinet, upon a written, verified complaint, to be necessary to prevent imminent harm or damage to the safety, life, or health of a person. In this instance, the cabinet shall deliver to the landowner a copy of the written determination and the verified complaint prior to the commencement of the inspection or enforcement action.

# Section 2.   KRS 211.981 is amended to read as follows:

## (1)	All sewage or sewage sludge hauled pursuant to the provisions of KRS 211.970 to 211.982 shall be disposed of by landspreading at an approved site or in a publicly-owned sewage treatment plant, unless it is demonstrated to the satisfaction of the cabinet that a publicly-owned sewage treatment plant does not exist within a reasonable hauling distance from the site at which the sewage or sewage sludge is received, or the publicly-owned sewage treatment plant refuses to accept the sewage or sewage sludge.

## (2)	If the cabinet determines that no publicly-owned sewage treatment plant is available for use by a licensed hauler, the cabinet may approve an alternative mode of disposal including, but not limited to, landspreading. The cabinet shall promulgate administrative regulations pursuant to KRS Chapter 13A governing landspreading and other acceptable modes of disposal which insure:

### (a)	That no contamination threat is posed to surface waters from any run-off; and

### (b)	That all reasonable protection is afforded to prevent contamination of groundwater.

## (3)	Trenching of sewage and sewage sludge shall be prohibited except where specifically authorized by the cabinet.

# Section 3.   KRS 224.50-760 is amended to read as follows:

(1)	(a)	For purposes of this section and KRS 224.46-580(7), special wastes are those wastes of high volume and low hazard which include but are not limited to mining wastes, utility wastes (fly ash, bottom ash, scrubber sludge), sludge from water treatment facilities and wastewater[waste water] treatment facilities, cement kiln dust, gas and oil drilling muds, and oil production brines. Other wastes may be designated special wastes by the cabinet;

### (b)	Disposal sites or facilities for special wastes shall be exempt from the provisions of KRS 224.46-520 and the provisions of KRS 224.43-810, 224.43-815, and 224.46-820 to 224.46-870 but may be regulated by the cabinet consistent with the Resource Conservation and Recovery Act of 1976, as amended (Public Law 94-580), and regulations issued pursuant thereto, unless the special waste received is listed or meets the criteria of a hazardous waste in regulations pursuant to KRS 224.46-510(3). If the special waste is a hazardous waste as specified in regulations pursuant to KRS 224.46-510(3), the site or facility shall be required by the cabinet to comply with the provisions of KRS 224.46-520 but shall not be subject to the requirements of KRS 224.40-310(6);

### (c)	Generators of special wastes shall register with the cabinet and be subject to the provisions of KRS 224.46-510, except for generators of coal mining wastes which shall be regulated pursuant to the provisions of KRS Chapter 350;[ and]

### (d)	The cabinet shall, when promulgating regulations affecting special waste, recognize special waste as a separate and distinct indivisible category and shall recognize the distinct differences between the category of special wastes and other hazardous wastes and solid wastes as defined in KRS 224.01-010(31)(a) and KRS 109.012(9) due to the fact that special wastes have large volume but low hazardousness. The cabinet's regulations for the generation, transport, recordkeeping, reporting, treatment, storage, and disposal shall reflect those distinct differences. The cabinet's regulations shall recognize and incorporate, where appropriate, and if consistent with the policies of KRS 224.46-510 to 224.46-570, any deadline extensions, studies, and specialized requirements for specific kinds of special wastes that are or may be undertaken at the federal or other levels of government; and

### (e)	It is the intent of the General Assembly that the processing of sludge from water treatment facilities and wastewater treatment facilities by composting shall be considered an industrial process. The cabinet shall, when promulgating administrative regulations affecting sludge from water treatment facilities and wastewater treatment facilities, consider the treatment of this sludge by composting as an industrial process. The provisions of this paragraph and subsection (3) of this section shall not apply to a city, county, urban-county government, charter county government, or special district as defined in KRS Chapter 65 that processes its own water treatment or wastewater treatment sludge by composting on property owned or leased by the city, county, urban-county government, charter county government, or special district.

## (2)	Generators of waste oil shall be exempt from the provisions of KRS 224.46-510 and 224.46-520 so long as waste oil is not specified as a hazardous waste in regulations pursuant to KRS 224.46-510(3) but may be regulated by the cabinet consistent with the Resource Conservation and Recovery Act of 1976, as amended (Public Law 94-580), and regulations issued pursuant thereto.

## (3)	A permit application to establish, operate, or modify a composting site or composting facility for the processing of water treatment sludge or wastewater treatment sludge, shall require immediately the general public notice provided for in subsections (4) and (5) of KRS 224.40-310. If a hearing is requested, no permit to establish, operate, or modify a composting site or facility shall be issued prior to the public hearing. The hearing shall be held within the county where the composting site or facility is located or proposed. Composting of this sludge shall be considered an industrial process.